## Sheet1
Hightighted files were used in data analysis
FILE NAME | DATE | DESCRIPTION | COMMENTS | MJD start time | MJD end time
2025_01_02_07-06-04.h5 | 2025-01-02 | 4h cryo quiet acquisition (old bias) | Board O not working | 60677.29935743095 | 60677.45924503572
2025_01_02_11-06-04.h5 | 2025-01-02 | 4h cryo quiet acquisition (old bias) | Board O not working
2025_01_02_15-06-04.h5 | 2025-01-02 | 4h cryo quiet acquisition (old bias) | Board O not working
2025_02_06_17-00-01.h5 | 2025-02-06 | Y factor test + offset_PS6/offsetVD0 (old bias) |  | 60712.754574559 | 60712.788404462335
POLARIMETERS BIAS UPDATE
2025_03_06_17-30-33.h5 | 2025-03-06 | Y factor test + offset_PS6 | Board B not working | 60740.77716863732 | 60740.79870131827
2025_03_06_21-30-33.h5 | 2025-03-06 | 4h cryo quiet acquisition | Board B not working | 60740.8996805311 | 60741.05959838424
2025_03_07_01-30-33.h5 | 2025-03-07 | 4h cryo quiet acquisition | Board B not working
2025_03_07_05-30-33.h5 | 2025-03-07 | 4h cryo quiet acquisition | Board B not working
2025_03_09_01-30-33.h5 | 2025-03-09 | 4h cryo quiet acquisition | Board B not working
2025_03_09_05-30-33.h5 | 2025-03-09 | 4h cryo quiet acquisition | Board B not working
2025_03_09_09-30-33.h5 | 2025-03-09 | 4h cryo quiet acquisition | Board B not working
2025_03_10_21-30-33.h5 | 2025-03-10 | offsetVD0 (for Y factor test) | Board B not working
2025_03_11_01-30-33.h5 | 2025-03-11 | 4h cryo quiet acquisition with all VD=0 | Board B not working
INSTRUMENT WARMING UP
2025_03_11_08-49-26.h5 | 2025-03-11 | 4h cryo quiet acquisition with all POL_PWR=0 | Board B not working
2025_04_09_00-08-13.h5 | 2025-04-09 | 4h warm quiet acquisition | Board B and O turned off | 60774.00918518056 | 60774.16890718056
2025_04_09_16-51-21.h5 | 2025-04-09 | 4h warm quiet acquisition with thermal sampling time x100 | Board B and O turned off | 60774.7058269868 | 60774.8655489838
2025_04_11_03-40-00.h5 | 2025-04-11 | 4h warm quiet acquisition with POL_PWR=0->1 (all bias off) for pol R6 | Board B and O turned off
2025_04_11_14-38-30.h5 | 2025-04-11 | 1.5h warm quiet acquisition with DAQ board disconnected fortile R, PH_SW=5656 | Board B and O turned off | 60776.61357015776 | 60776.68406910741
2025_04_11_16-30-08.h5 | 2025-04-11 | 1h warm quiet acquisition with DAQ board disconnected for tile R, PH_SW=6556 | Board B and O turned off | 60776.69109235483 | 60776.73497016117
2025_04_11_17-43-24.h5 | 2025-04-11 | 4h warm quiet acquisition with DAQ board disconnected for tile R, PH_SW=6666 | Board B and O turned off | 60776.74197413248 | 60776.90170732043
2025_04_12_06-24-39.h5 | 2025-04-12 | 4h warm quiet acquisition with DAQ board disconnected for tile R, PH_SW=7777 | Board B and O turned off
2025_04_14_16-43-42.h5 | 2025-04-14 | 4h warm quiet acquisition with DAQ board disconnected for tile R, fast hk sampling time x10 | Board B and O turned off | 60779.70051828713 | 60779.86025141776
2025_04_15_09-52-41.h5 | 2025-04-15 | Turn off boards R, V, I, Y, G | Board B and O turned off
2025_04_15_14-08-47.h5 | 2025-04-15 | Turn on/off board Y (X-talk test on board Y polarimeters) | All boards turned off | 60780.595987966735 | 60780.61842526378
2025_04_15_15-55-11.h5 | 2025-04-15 | Turn on/off board G | All boards turned off | 60780.66912017106 | 60780.67361713993
2025_04_15_16-20-45.h5 | 2025-04-15 | Turn on/off board V | All boards turned off | 60780.687266408 | 60780.692549870684
2025_04_15_16-45-01.h5 | 2025-04-15 | Turn on/off board I | All boards turned off | 60780.70389252038 | 60780.712707561746
2025_04_15_17-15-02.h5 | 2025-04-15 | Turn on/off board R | All boards turned off | 60780.72463591283 | 60780.72778963765
HARNESS DE-INTEGRATION
2025_06_12_13-29-11.h5 | 2025-06-12 | 1h warm quiet acquisition with all pol and cabinet dx disconnected, GAIN_EN=0 and DAC_EN=0 | Board B turned off
2025_06_12_15-29-11.h5 | 2025-06-12 | 1h warm quiet acquisition with all pol and cabinet dx disconnected, GAIN_EN=1 and DAC_EN=1 | Board B turned off
2025_06_12_17-49-09.h5 | 2025-06-12 | 1h warm quiet acquisition with all pol and cabinet dx disconnected, PH_SW=5656 | Board B turned off
2025_06_13_06-49-09.h5 | 2025-06-13 | 1h warm quiet acquisition with all pol and cabinet dx disconnected, POL_PWR=0->1 (all bias off) | Board B turned off
2025_06_13_13-49-09.h5 | 2025-06-13 | 1h warm quiet acquisition with all pol and all cabinets disconnected, POL_PWR=0->1 (all bias off) | Board B turned off | 60839.57579884259 | 60839.617465856485
CRYO-COOLER REPLACEMENT
2026_02_07_04-54-15.h5 | 2026-02-07 | 4h warm quiet acquisition (closed cryostat)
2026_02_07_08-54-15.h5 | 2026-02-07 | 4h warm quiet acquisition (closed cryostat)
2026_02_07_12-54-15.h5 | 2026-02-07 | 4h warm quiet acquisition (closed cryostat)
2026_02_07_16-54-15.h5 | 2026-02-07 | 4h warm quiet acquisition (closed cryostat)
2026_02_07_20-54-15.h5 | 2026-02-07 | 4h warm quiet acquisition (closed cryostat)
INSTRUMENT COOLING DOWN
2026_02_20_02-41-19.h5 | 2026-02-20 | 4h cryo quiet acquisition
2026_02_20_06-41-19.h5 | 2026-02-20 | 4h cryo quiet acquisition
2026_02_20_10-41-19.h5 | 2026-02-20 | 4h cryo quiet acquisition
2026_02_20_14-41-19.h5 | 2026-02-20 | 4h cryo quiet acquisition
2026_02_20_18-41-19.h5 | 2026-02-20 | 4h cryo quiet acquisition
2026_02_20_22-41-19.h5 | 2026-02-20 | 4h cryo quiet acquisition
2026_03_02_01-05-49.h5 | 2026-03-02 | 4h cryo quiet acquisition | Board V not working
2026_03_02_05-05-49.h5 | 2026-03-02 | 4h cryo quiet acquisition | Board V not working
2026_03_02_09-05-49.h5 | 2026-03-02 | 4h cryo quiet acquisition | Board V not working
2026_03_02_13-05-49.h5 | 2026-03-02 | 4h cryo quiet acquisition | Board V not working
2026_03_02_17-05-49.h5 | 2026-03-02 | 4h cryo quiet acquisition | Board V not working
2026_03_02_21-05-49.h5 | 2026-03-02 | 4h cryo quiet acquisition | Board V not working